DIMITRIOS THEMISTOKLAKOS

K. PALAMA 18 -0030 2310-536593

FAX-2310/533403 , www.stefagomma.com

METER-LENGTH RUBBER HOSE

METTER –LENGTH RUBBER HOSE FOR HOT WATER – LIQUID USE

Hose is black EPDM reinforced with textile for high tension resistance

Resistant to temperature, corrosion and ozone.

Applied mostly as radiator and warming installations in vehicles.

TEMP -5/+80 C

PRESSURE 7-21 BAR

| DIMENSIONS | DESCRIPTION |  |  |
| --- | --- | --- | --- |
| 18 x 26 ΧΙΛ. | ONE METER-LENGTH HOSE |  |  |
| 20 x 28 ΧΙΛ. | ONE METER-LENGTH HOSE |  |  |
| 22 x 30 ΧΙΛ. | ONE METER-LENGTH HOSE |  |  |
| 25 x 33 ΧΙΛ. | ONE METER-LENGTH HOSE |  |  |
| 28 x 36 ΧΙΛ. | ONE METER-LENGTH HOSE |  |  |
| 30 x 38 ΧΙΛ. | ONE METER-LENGTH HOSE |  |  |
| 32 x 40 ΧΙΛ. | ONE METER-LENGTH HOSE |  |  |
| 35 x 43 ΧΙΛ. | ONE METER-LENGTH HOSE |  |  |
| 38 x 48 ΧΙΛ. | ONE METER-LENGTH HOSE |  |  |
| 40 x 50 ΧΙΛ. | ONE METER-LENGTH HOSE |  |  |
| 42 x 52 ΧΙΛ. | ONE METER-LENGTH HOSE |  |  |
| 45 x 55 ΧΙΛ. | ONE METER-LENGTH HOSE |  |  |
| 48 x 58 ΧΙΛ. | ONE METER-LENGTH HOSE |  |  |
| 50 x 60 ΧΙΛ. | ONE METER-LENGTH HOSE |  |  |
| 55 x 65 ΧΙΛ. | ONE METER-LENGTH HOSE |  |  |
| 60 x 70 ΧΙΛ. | ONE METER-LENGTH HOSE |  |  |
| 65 x 75 ΧΙΛ. | ONE METER-LENGTH HOSE |  |  |
| 70 x 80 ΧΙΛ. | ONE METER-LENGTH HOSE |  |  |
| 75 x 86 ΧΙΛ. | ONE METER-LENGTH HOSE |  |  |
| 80 x 90 ΧΙΛ. | ONE METER-LENGTH HOSE |  |  |
| 85 x 95 ΧΙΛ. | ONE METER-LENGTH HOSE |  |  |
| 90 x 102ΧΙΛ. | ONE METER-LENGTH HOSE |  |  |
| 100 x 112 ΧΙΛ. | ONE METER-LENGTH HOSE |  |  |
| 110 x 122 ΧΙΛ. | ONE METER-LENGTH HOSE |  |  |
| 120 x 134 ΧΙΛ. | ONE METER-LENGTH HOSE |  |  |
| 150 x 162 ΧΙΛ. | ONE METER-LENGTH HOSE |  |  |